Device and Rhythm History	   Bluetooth device     Wireless device    Not wireless device

Vendor:          Medtronic         Abbott         Boston         Biotronik           Sorin

Type of Device:    PPM       ICD      Single     Dual    Leadless         CRT-D    CRT-P      S- ICD     Loop Recorder

Special implants:       CSP Lead:  ___LBB    ___HBP         Micra:  ___VR    ___ AV         Aveir:  ___AR   ___VR   ___DR      Other:

Advisory:   Yes   No   Info: ____________________________________________________________________________________

Diagnosis:  __________________________________________________________________________________________________

History of Afib:      _________________________________          Procedure for Afib or EP:  _________________________________

EF: _______________ %   Date:   ______________________        Test:     Echo       MPS       MRI    MUGA

Significant EP Meds: __________________________________________________________________________________________

Test to Order:        None        Up to date        BMP         CBC        CMP         TSH          ECG         No ECG as RV pacing ____%

Device Interrogation       Device function WNL:          yes        no               Interrogation only as last full check was on __________

Underlying Rhythm ___________________________________ Pacing - AP: _____%   RV / LBB / BiV: _____ %   AF Burden: _____%

Mode ______________________________ LRL ___________ Battery Voltage __________________ ERI Voltage_______________

Episodes / Symptoms related to device:

______________________________________________________________________________________________________________________________________________________________________________________________________________________

___________________________________________________________________________________________________________

Histogram Review:   underutilized   appropriate   overutilized   sedentary / wheelchair bound

| ATRIAL | RIGHT VENTRICULAR | LEFT VENTRICULAR |
| --- | --- | --- |
| Sensing ___________________mv | Sensing ___________________mv | Sensing ___________________mv |
| Threshold _______volts @ ______ms | Threshold _______volts @ ______ms | Threshold _______volts @ ______ms |
| Lead Impedance _____________ | Lead Impedance _____________ HV Impedance ________________ | Lead Impedance _____________ Last Charge Time: __________ sec |

Programming Changes Made: ___________________________________________________________________________________________________________

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________